## Introduction
2026 UK Review of Dental Imaging Doses to Patients
Information for using the forms in this workbook
A:- | This workbook is for entry of dental dose data.
As in previous UK reviews of dental diagnostic doses, dental exposures are assessed using the typical exposure conditions for an adult or child but without the patient being present.
The exception to this is Cone Beam CT or Panoramic sets for which AEC is used for most exposures, in which case QA measurements are not suitable.
For sets that use AEC, enter the median DAP values from the most recent dose survey of ten or more patients performed on it, ensuring that the machine's DAP readings have been calibrated.
B:- | This workbook contains spreadsheets for the entry of doses for Intra Oral, Panoramic, Cephalometric and Cone Beam CT examinations assessed by this survey.
(An example entry is given at the top of the each table. Additional information about specific parameters is given in comment notes, indicated by a small red flag in the top right corner of its header cell, like this...)
C:- | Essential fields are indicated by a yellow data entry box | [7 empty] | Essential Information
D:- | Support information is indicated by a white data entry box | [7 empty] | Supporting Information
E:- | Fields that are automatically filled from other entries or contain UKHSA entries are green | [7 empty] | Auto filled or UKHSA entries
F:- | Essential fields for all exams:- |  |  | Dental Practice ID X-ray Set ID Date Tested |  |  |  | Dose indicator in the required units as listed as Essential for each exam
| For Cone beam CT the exposure conditions should be set as if for the following exams: | [5 empty] | Child: To image a single impacted maxillary canine of a 12-year old child
Adult 1: Prior to the placement of a upper first molar implant in a standard adult
[6 empty] | New ! | Adult 2: Prior to the placement of implants across the whole of the maxilla in a standard adult |  |  | New additional CBCT exam
[6 empty] | New ! | Adult 3: Prior to the placement of implants across the whole of the maxilla and the mandible in a standard adult |  |  | New additional CBCT exam
Provide data for the two new adult CT exams if it is available.
The dosimetric indicators requested to monitor patient dose are:
| Exam type: |  | Dose Indicator(s): |  | Information Grade: | Units: | Definition of Dose Indicator
| Intra oral |  | Patient entrance dose (PED) |  | Essential | mGy | Absorbed dose to air at the tip of the spacer/collimator
| Panoramic |  | Dose Area Product (DAP) |  | Essential | mGy cm2 | As directly measured by a calibrated DAP meter. If a DAP meter reading is not available then as absorbed dose to air (or air kerma) times width of x-ray beam times height of x-ray beam, all measured in the same plane between the x-ray tube and the image receptor, in the absence of a patient.
| Cephalometric |  | Dose Area Product (DAP) |  | Essential | mGy cm2 | As directly measured by a calibrated DAP meter. If a DAP meter reading is not available then as absorbed dose to air (or air kerma) times width of x-ray beam times height of x-ray beam, all measured in the same plane between the x-ray tube and the image receptor, in the absence of a patient.
|  |  | Dose |  | Supporting | mGy | Absorbed dose to air (or air kerma), measured at the digital detector or film cassette, in the absence of a patient and ensuring that there is nothing attenuating the X-ray beam (e.g. no DAP meter).
| Cone Beam CT |  | Dose Area Product (DAP) |  | Essential | mGy cm2 | As directly measured by a calibrated DAP meter. If a DAP meter reading is not available then as absorbed dose to air (or air kerma) times width of x-ray beam times height of x-ray beam, all measured in the same plane between the x-ray tube and the image receptor, in the absence of a patient.
|  |  | Dose |  | Supporting | mGy | Absorbed dose to air (or air kerma), measured at the digital detector, in the absence of a patient and ensuring that there is nothing attenuating the X-ray beam (e.g. no DAP meter).
H:- | Any other information you wish to add can be entered in either in the "Any other information" fields column found on the right hand side of the data entry table.
I:- | Data should be included for X-ray sets tested in 2023 or later. If a set has been assessed more than once in this time, please only provide the most recent results. Where possible please exclude sets which have since been taken out of use.
J:- | Please do not edit or otherwise alter the layout and formatting of this workbook.
K:- | Please check that you have submitted all the requested essential information.
L:- | It is recommended that the scientific integrity of the data is checked by an MPE prior to submission.
M:- | We much prefer that some data is submitted rather than none at all. Please contact us if you have any problems submitting data.
N:- | Please email this completed Work Book and any other documents to:- |  |  |  |  | MedicalRadiationDoses@ukhsa.gov.uk
O:- | Data should be submitted by 31 May 2026.
P:- | Submitted data will be stored securely and confidentially on UKHSA servers at all times and will only be used for this survey and will not be passed on to any third party.
Q:- | Submitted data will be anonymised in all publications arising from the review and presented in a manner that does not enable results from any individual participating organisation or dental practice to be identified.
Note on R12: An example of a flag for a note with more information about parameter entries. Look out for these!

## Contact information
2026 UK Review of Dental Imaging Doses to Patients
Essential Information |  | Yellow heading indicates Essential information | Very Useful Information | Blue heading:- Not Essential but very useful
Supporting Information |  | White heading:- Supporting information
UKHSA entry or Example |  | Green header or entry: PHE entry or example
Contact Information
Name*
telephone
mobile
email*
role

## Dental-IntraOral
Dental - Intra Oral (Mandibular molar)
[6 empty] | Measured |  | Circular Collimation | Rectangular collimation |  |  | Adult Mandibular Molar | Child Mandibular Molar
Dental Practice ID | X-ray Set ID | Date tested | Manufacturer | Model | Year of manufacture | Adult Operating potential | Rectangular collimation? | Beam diameter | Beam height | Beam width | Image receptor | Patient Entrance Dose | Patient Entrance Dose | Any other information | Drop down list entries
[6 empty] | (kV) | Yes/No drop down list | (mm) | (mm) | (mm) | Choose from drop down list | (mGy) | (mGy)
Practice A | 1 | 2025-07-01 | The | Xrayset | 2022 | 70 | Yes |  | 35 | 45 | DR (digital sensor) | 1.5 | 1.1 | Child 68 kV
CR (phosphor plate)
DR (digital sensor)
Unknown digital
D speed film
E speed film
E/F speed film
F speed film
Self-developing film
Unknown film
Unknown
Note on A3: A name or code that will help identify a dental practice should there be a query about it.
Note on B3: A name or code that will help identify an X-ray set should there be a query about it.
Note on G3: If Voltage for child exposure is different, please enter it under "Any other information"
Note on O3: To be used for any other information you wish to add. Please feel free to adjust the width of this or any other column in this worksheet.

## Dental-Panoramic
Dental - Panoramic (Full jaw)
[7 empty] | Adult - full jaw |  | Child - full jaw
Dental Practice ID | X-ray Set ID | Date tested | Manufacturer | Model | Year of manufacture | Image receptor | Measured Operating potential | DAP | Measured Operating potential | DAP | Any other information
[6 empty] | Choose from drop down list | (kV) | (mGy cm2) | (kV) | (mGy cm2)
Practice A | 2 | 2025-07-01 | The | PanXraySet | 2022 | DR (digital sensor) | 70 | 70 | 65 | 44 | DAP median values from 2025 Spring dose surveys of 35 adult patients and 25 child patients respectively
Green fill indicates drop down lists
For Dental Panoramic and Dental Cephalometric sheets
For column H: Image receptor
[12 empty] | list | Film
CR (phosphor plate)
DR (digital sensor)
Digital (unknown type)
Unknown
Note on A3: A name or code that will help identify a dental practice should there be a query about it.
Note on B3: A name or code that will help identify an X-ray set should there be a query about it.
Note on I3: For Sets that predominantly use AEC for exposures please provide the median value from the set's most recent patient dose audit, ensuring that the machine DAP values are correctly calibrated. Please add a note to the "Any Other Information" column (L) to indicate such entries. If no patient data is not available do not enter QA measurements as they are not suitable.
Note on K3: For Sets that predominantly use AEC for exposures please provide the median value from the set's most recent patient dose audit, ensuring that the machine DAP values are correctly calibrated. Please add a note to the "Any Other Information" column (L) to indicate such entries. If no patient data is not available do not enter QA measurements as they are not suitable.
Note on L3: Enter any other information you wish to include. Please feel free to adjust the width of this or any other column in this worksheet.

## Dental-Cephalometric
Dental - Cephalometric (Lateral view) | [6 empty] | check with John
[7 empty] | Adult - Lateral view |  |  |  |  | Child - Lateral view
Dental Practice ID | X-ray Set ID | Date tested | Manufacturer | Model | Year of manufacture | Image receptor | Measured Operating potential | Beam width To be measured at the detector/cassette position | Beam height To be measured at the detector/cassette position | Dose | DAP | Measured Operating potential | Beam width To be measured at the detector/cassette position | Beam height To be measured at the detector/cassette position | Dose | DAP | Any other information
[6 empty] | Choose from drop down list | (kV) | (mm) | (mm) | (mGy) | (mGy cm2) | (kV) | (mm) | (mm) | (mGy) | (mGy cm2)
Practice A | 3 | 2025-07-01 | The | CephXrayset | 2015 | Scanning beam DR (digital sensor) | 80 | 5 | 220 | 2 | 22 | 75 | 5 | 220 | 1.5 | 17
Drop down list entries
Green fill indicates drop down lists
For Dental Panoramic and Dental Cephalometric sheets
For column G: Image receptor
list
CR (phosphor plate)
Static beam DR (digital sensor)
Scanning beam DR (digital sensor)
Digital (unknown type)
Film
Unknown
Extend table if required:-
Note on A3: A name or code that will help identify a dental practice should there be a query about it.
Note on B3: A name or code that will help identify an X-ray set should there be a query about it.
Note on R3: Enter any other information you wish to include. Please feel free to adjust the width of this or any other column in this worksheet.

## Dental-CBCT
Dental Cone Beam CT | [6 empty] | Child: Dental Cone Beam CT clinical indicator: Image a single impacted maxillary canine of a 12-year old male | [9 empty] | Adult 1: Dental Cone Beam CT clinical indicator: Image prior to the placement of an upper first molar implant in a standard adult male patient | [9 empty] | NEW! Adult 2: (Complete if appropriate records available) Dental Cone Beam CT clinical indicators: Image prior to the placement of implants for the whole of the maxilla in a standard male patient | [9 empty] | NEW! Adult 3: (Complete if appropriate records available) Dental Cone Beam CT clinical indicators: Imaging prior to the placement of implants across all of the maxilla and the mandible in a standard male patient
[6 empty] | Measured | Child - To image a single impacted maxillary canine of a 12-year old male | [9 empty] | Adult 1 - Prior to the placement of an upper first molar implant in a standard adult male | [9 empty] | Adult 2: Prior to the placement of implants across the whole of the maxilla in a standard adult male | [9 empty] | Adult 3: Prior to the placement of implants across all the maxilla and the mandible in a standard adult male
Dental Practice ID | X-ray Set ID | Date tested | Manufacturer | Model | Year of manufacture | Total beam filtration | Measured Operating potential | Set Tube current | Set Exposure time | or Exposure setting | FOV chosen |  | Beam width To be measured at the detector position | Beam height To be measured at the detector position | Dose | DAP* | Measured Operating potential | Set Tube current | Set Exposure time | or Exposure setting | FOV chosen |  | Beam width To be measured at the detector position | Beam height To be measured at the detector position | Dose | DAP | Measured Operating potential | Set Tube current | Set Exposure time | or Exposure setting | FOV chosen |  | Beam width To be measured at the detector position | Beam height To be measured at the detector position | Dose | DAP | Measured Operating potential | Set Tube current | Set Exposure time | or Exposure setting | FOV chosen |  | Beam width To be measured at the detector position | Beam height To be measured at the detector position | Dose | DAP | Any other information
[6 empty] | (mmAl) | (kV) | (mA) | (s) | (mAs) | diameter (cm) | x height (cm) | (mm) | (mm) | (mGy) | (mGy cm2) | (kV) | (mA) | (s) | (mAs) | diameter (cm) | x height (cm) | (mm) | (mm) | (mGy) | (mGy cm2) | (kV) | (mA) | (s) | (mAs) | diameter (cm) | x height (cm) | (mm) | (mm) | (mGy) | (mGy cm2) | (kV) | (mA) | (s) | (mAs) | diameter (cm) | x height (cm) | (mm) | (mm) | (mGy) | (mGy cm2)
Practice A | 4 | 2025-07-01 | The | CBCTXraySet | 2015 | 4 | 70 | 10 | 10 |  | 4 | 4 | 65 | 75 | 2 | 98 | 80 | 10 | 10 |  | 5 | 5 | 75 | 85 | 3 | 191 | 80 | 10 | 10 |  | 20 | 5 | 75 | 85 | 3 | 191 | 80 | 10 | 10 |  | 20 | 10 | 75 | 85 | 3 | 191 | Child FOV composite of three stiched scans of the following dimensions….
Extend table if required:-
Note on A3: A name or code that will help identify a dental practice should there be a query about it.
Note on B3: A name or code that will help identify an X-ray set should there be a query about it.
Note on L3: If the FOV is a composite of several scans stitched together, please enter details in "Any other Information" column (AV).
Note on P3: Ensure nothing is in the X-ray beam when measurement is made (e.g. DAP meter)
Note on Q3: For Sets that predominantly use AEC for exposures please provide the median value from the set's most recent patient dose audit, ensuring that the machine DAP values are correctly calibrated. Please add a note to the "Any Other Information" column (AV) to indicate such entries. If no patient data is not available do not enter QA measurements as they are not suitable.
Note on V3: If the FOV is a composite of several scans stitched together, please enter details in "Any other Information" column (AV).
Note on Z3: Ensure nothing is in the X-ray beam when measurement is made (e.g. DAP meter)
Note on AA3: For Sets that predominantly use AEC for exposures please provide the median value from the set's most recent patient dose audit, ensuring that the machine DAP values are correctly calibrated. Please add a note to the "Any Other Information" column (AV) to indicate such entries. If no patient data is not available do not enter QA measurements as they are not suitable.
Note on AF3: If the FOV is a composite of several scans stitched together, please enter details in "Any other Information" column (AV).
Note on AJ3: Ensure nothing is in the X-ray beam when measurement is made (e.g. DAP meter)
Note on AK3: For Sets that predominantly use AEC for exposures please provide the median value from the set's most recent patient dose audit, ensuring that the machine DAP values are correctly calibrated. Please add a note to the "Any Other Information" column (AV) to indicate such entries. If no patient data is not available do not enter QA measurements as they are not suitable.
Note on AP3: If the FOV is a composite of several scans stitched together, please enter details in "Any other Information" column (AV).
Note on AT3: Ensure nothing is in the X-ray beam when measurement is made (e.g. DAP meter)
Note on AU3: For Sets that predominantly use AEC for exposures please provide the median value from the set's most recent patient dose audit, ensuring that the machine DAP values are correctly calibrated. Please add a note to the "Any Other Information" column (AV) to indicate such entries. If no patient data is not available do not enter QA measurements as they are not suitable.
Note on AV3: Enter any other information you wish to include. Please feel free to adjust the width of this or any other column in this worksheet.